## Start_here
| ARANET PRE-CONFIGURATION SERVICE TEMPLATE |  | Template version: | 0.9
| This is template for Aranet preconfiguration services that is used to define expected configuration setup for Aranet hardware and cloud. |  | Template date: | 2026-07-07
|  |  | Template owner: | support@aranet.com
HOW IT WORKS
| How to fill out the form: | Please fill in all orange fields (some fields can be left blank if default values are needed) Please use drop down selection where it is available For every base station please use separate tab (please copy tab manually)
| LEGEND: | Fill out (if left blank, default values will be used)
Leave blank
Descriptions of things look like this
| Sequence to fill in: | 1. Start_here 2. Aranet Basic HW setup (1 tab per each base station) PLEASE copy extra tabs for additional base stations 3. Aranet Cloud Connectivity (optional) 4. 30MHz (only if setup with 30MHz platform is required) 5. Send the filled out form to support@aranet.com
| Output: | After configuration is completed customer receives : -preconfigured base station with sensors paired according to specification -configuration report with information about sensor setup -Aranet Cloud organization with trial licence (purchased licence will be activated upon transfer of Cloud organization ownership)
STEP 1 | Start filling it out here:
| Field | Your input |  | Notes / Guidance
| Customer name | New customer |  | Contact information with whom preconfiguration services are agreed
| Customer contact email | email@email.com
| Region | Europe |  | Used to set up regional setting for the base station
| 30Mhz platform used | No |  | Choose if you are going to use 30Mhz integration
| Purchase order number | PO-26-111111111 |  | Please enter purchase order number from your order

## Aranet Basic HW setup Base_1
STEP 2 | Aranet Basic setup
|  |  |  | Base station #1 | s/n: xxxxxxx | Description, serial number will be added to configuration by Aranet team
|  | Field |  | Your input |  | Notes / Guidance
| Built-in administrator: |  |  | root |  | Default built in user
| Password: |  |  |  |  | Password assigned for default user during configuration (if left blank then is the default password)
| Sensor licence |  |  | 12 |  | Probase station sensor license volume (12/50/100) - information from purchase order
<=10 | Number of sensors paired |  |  | 10 |  | Number of senors to pair with this base station
| Additional sensors |  |  | 0 |  | Validation if extra fee for additional sensors must be purchased
| Base station name |  |  | Greenhouse1 |  | Name of basestation that will appear in all configurations and wifi SSID name
| Default internet connectivity type |  |  | Ethernet (cabled connection) |  | Type of network connectivity used for the base station
Firmware version
| Should base be connected to Aranet Cloud |  |  | Yes |  | Please mark yes if base station must be connected to Aranet Cloud.
Base station network configuration (defaults) |  |  |  | Fill in only if specific network setup is required
Ethernet
| Status | Dynamic IP (DHCP) |  | Static IP, Fallback (optional) |  |  | Ethernet static/fallback IP address - if not specified DHCP configuration with fallback IP address will be set
|  |  |  | IP address | 192.168.205.100
|  |  |  | Subnet Mask | 255.255.255.0
Gateway
DNS server address
WiFi
| Main setup |  |  | Static IP, Fallback (optional) |  |  | Wifi static/fallback IP address - if not specified Access point mode is selected (User can connect to base station via wifi with the SSID "basestation_name"
| Status | Enabled |  | IP address | 192.168.206.100 |  | Status - enabled / disabled (no wifi available)
| Mode | Access point |  | Subnet Mask | 255.255.255.0 |  | Mode - Client (default option if base staiton will be connected via wireless network) / AccessPoint (base station connectivity will be configured on site)
| IP | Dynamic IP (DHCP) |  | Default Gateway
| SSID: |  |  | DNS server address
| Encryption | None
Password
LTE |  |  |  | Only fill out if you have your own SIM you wish to use.
Main setup
| Status | Disabled |  | Status - enabled / disabled
| APN |  |  | APN - APN of the network operator
| Username |  |  | Username the network provider gives you
| Password |  |  | Password the network provider gives you
| PIN |  |  | PIN - PIN of the SIM card
| Enable roaming? | Enabled |  | Enable roaming? - Enabled/disabled
Sensors |  |  | Filled in by SAF | Choose sensor to pair (must correspond to order) | Sensor name (if not specified will be created as sequence number Basestationname-01, basestationname-02, basestationname-03 etc. | Interval to pair devices (greenhouse optimal - 1minute, IAQ - 2minutes, Retail - 5minutes) | Fill in for transmitters and soil sensors | Possible values | Unit for conversion values | Conversion formula (e.g. 1kw=400pulses)
| List of sensors to pair with base station (value from cell E7. Please fill in rows that are not FALSE) | Base station name (please use one tab per base station) | Sensor ID | Sensor Type | Sensor Name | Pairing interval | Conversion | Calibration profile / Dimension | Unit | Conversion formula
| Sensor# | Base station | example | TDSPC003 - Aranet4 PRO | Basestation-1 | 5 minutes | VWC | Topp G.C. et al. (1980) | °C | 1kw=1000pulses
| 1 | Greenhouse1 |  | TDSPDL03 - Aranet NH3 sensor kit: DOL 53 with 0-10 V transmitter, 24 VDC PS |  | 5 minutes | VWC
| 2 | Greenhouse1 |  | TDSPIKU2 -Aranet Drainage sensor kit
| 3 | Greenhouse1 |  | TDSPCL02 - Aranet 4-20 mA Transmitter, 1.0 m
| 4 | Greenhouse1
| 5 | Greenhouse1
| 6 | Greenhouse1
| 7 | Greenhouse1
| 8 | Greenhouse1
| 9 | Greenhouse1
| 10 | Greenhouse1
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE
| FALSE | FALSE

## Aranet Cloud Connectivity
STEP 3 | Aranet Cloud Connectivity
| Field | Your input | Notes / Guidance
| Cloud Organization name |  | Cloud organization legal entity data
| User email account for Ownership transfer |  | User email account to whom organization ownership will be transfered.
Optional
Country
Company name
VAT number
E-mail
Phone number
| Street |  | Contacts & billing address
City
Postal code
List of base stations to pair with organization:

## Aranet Cloud Configuration (hidden)
Organization name
Country
Company name
VAT number
E-mail
Phone number
Street
City
Postal code
Admin account
User list
| # | Name | E-mail | Rights
1
2
3
4
5
6
7
8
9
10
Locations
| # | Name | Location address | Associated users
1
2
3
4
5
Alarms
| # | Title | Metric | Tresholds
|  |  |  | Above values |  | Below values |  | Delay time
|  |  |  | Warning | Critical | Warning | Critical
1
2
3
4
5

## For 30MHz users
STEP 4 | 30MHz push type integration
| Field | Your input | Notes / Guidance
| 30 MHz organization ID |  | organization ID in 30MHz platform
| 30MHz API Key |  | API key for integration
| Site/Location |  | Site/Location to add data. Timezone must be configured to enable integration
| Do we add all sensors to this site? |  | Yes/No, by default YES. If sensors must be split across multiple 30mhz locations, please indicate which sensors (or base station are related to 30mhz site)
| Data upload interval |  | can be any value in range from 1minute to 1 day by default data are sent every 5minutes.
Please send filled in template to support@aranet.com

## Classifiers (hidden)
Region | Preconfiguration service | Additional service | Cloud Connectivity | Sensor Conversions | Calibration profile | Dimension | Unit | Pairing interval | Main connectivity | Wifi | Connectivity setup | Wifi setup | Encryption | Wifi mode | Ethernet setup | User_role | Extra_licence | Sensor licence | Cloud connectivity | Temperature Unit | Sensor
Americas | Basic setup: 1 base station, up to 12 sensors | Additional 10 sensors pairing | Aranet Cloud connectivity | VWC | Topp G.C. et al. (1980) | Temperature | °C | 1 minute | WiFi | Enabled | Default configuration | Dynamic IP (DHCP) | None | Access point | Dynamic IP (DHCP) | User | MQTT 1year |  | YES | Celsius
Europe |  | Additional 20 sensors pairing | Aranet Cloud with 30MHz integration | Transmitter | Mineral Soil | Humidity | °F | 2 minutes | Ethernet (cabled connection) | Disabled | Specific IP address configuration | Static IP | WPA-PSK | Client | Static IP | Administrator | MQTT 3 years | 12 | No | Fahrenheit | TDSPC003 - Aranet4 PRO
Asia |  | Additional 30 sensors pairing | No Aranet Cloud | PulseCounter | Rockwool Ekover | Pressure | K | 5 minutes | I will use Aranet SIM card |  |  | Disabled | WPA2-PSK |  |  |  | MQTT unlimited | 50 |  |  | TDSPC205 - Aranet4 PRO without display
|  | Additional 40 sensors pairing |  |  | Rockwool Grodan | Diff.Pressure | % | 10 minutes | [8 empty] | MODBUS TCP 1 year | 100 |  |  | TDSPRH02 - Aranet2 PRO
|  | Additional 50 sensors pairing |  |  | Cocos or peat | Current | hPa | [9 empty] | MODBUS TCP 3 years |  |  |  | TDSPSR02 - Aranet Radon+ PRO
|  | Additional 60 sensors pairing |  |  | Soilless media | Voltage | mmHg | [9 empty] | MODBUS TCP unlimited |  |  |  | TDSPT204 - Aranet Compact thermometer
|  | Additional 70 sensors pairing |  |  |  | Distance | bar | [9 empty] | BACNET 1 year |  |  |  | TDSPT001 - Aranet T/RH Sensor IP42
|  | Additional 80 sensors pairing |  |  |  | Level | atm | [9 empty] | BACNET 3 years |  |  |  | TDSPT802 - Aranet T/RH Sensor IP67
|  | Additional 90 sensors pairing |  |  |  | Diameter | inHg | [9 empty] | BACNET unlimited |  |  |  | TDSPT509 - Aranet T/RH Sensor with Radiation Shield
[6 empty] | Weight | Pa | [13 empty] | TDSPSD03 - Aranet Stem Diameter sensor
[6 empty] | Force | mmH2O | [13 empty] | TDSIR001 - Aranet IR plant temperature sensor
[6 empty] | Speed | mbar | [13 empty] | TDSPT309 - Aranet T/RH probe sensor
[6 empty] | Concentration | A | [13 empty] | TDSPT409 - Aranet T/RH probe (ammonia resistant)
[6 empty] | Torque | V | [13 empty] | TDSPT002 - Aranet T-probe
[6 empty] | Acceleration | m | [13 empty] | TDSPT306 - Aranet PT100 Sensor
[6 empty] | Energy | cm | [13 empty] | TDSPTA06 - Aranet PT100 Transmitter, 1.0 m
[6 empty] | Resistance | mm | [13 empty] | TDSPT506 - Aranet PT1000 Transmitter, 1.0 m
[6 empty] | Conductivity | µm | [13 empty] | TDSPHE02 - Aranet Soil VWC, EC, T Sensor (TEROS-12)
[6 empty] | Power | ft | [13 empty] | TDSPHW02 - Aranet Soil VWC, EC, T Sensor (WET150)
[6 empty] | Illuminance | in | [13 empty] | TDSPSM02 - Aranet Soil Moisture Sensor, 1.5 m
[6 empty] | Flow | mil | [13 empty] | TDSPSV02.050 - Aranet Weight Sensor 50 kg
[6 empty] | Volume | m | [13 empty] | TDSPSV02.100 - Aranet Weight Sensor 100 kg
[6 empty] | Radioactivity | cm | [13 empty] | ##### 3RD PARTY SENSOR TRANSMITTERS
[6 empty] | PPFD | mm | [13 empty] | TDSPCL02 - Aranet 4-20 mA Transmitter, 1.0 m
[6 empty] | pH | µm | [13 empty] | TDSCT102 - Aranet 4-20 mA transmitter with 12 VDC power supply
[6 empty] | Other | ft | [13 empty] | TDSCT202 - Aranet 4-20 mA transmitter with 24 VDC power supply
[6 empty] | Temperature | in | [13 empty] | TDSPVM02 - Aranet 0-10 VDC Transmitter, 1.0 m
[6 empty] | Humidity | mil | [13 empty] | TDSVT102 - Aranet 0-10 VDC transmitter with 12 VDC power supply
[6 empty] | Pressure | m | [13 empty] | TDSVT202 - Aranet 0-10 VDC transmitter with 24 VDC power supply
[6 empty] | Diff.Pressure | cm | [13 empty] | TDSKIC01 - Aranet Energy meter kit: 230 VAC single-phase (Pulse Counter)
[6 empty] | Current | mm | [13 empty] | TDSKIC03 - Aranet Energy meter kit: 230 VAC three-phase (Pulse Counter)
[6 empty] | Voltage | µm | [13 empty] | TDSPDP02 - Aranet Differential Pressure Sensor
[6 empty] | Distance | ft | [13 empty] | TDSPAC02 - Aranet AC Hour Meter
[6 empty] | Level | in | [13 empty] | TDSPIC02 - Aranet Dry Contact Pulse Counter, 1.0 m (Pulse Counter)
[6 empty] | Diameter | mil | [13 empty] | TDSPHM01 - Aranet Dry Contact Hour Meter, 1.0m (Hour Meter)
[6 empty] | Weight | kg | [13 empty] | TDSPDM02 - Aranet Ultrasonic Distance Sensor, v2
[6 empty] | Force | lb | [13 empty] | TDSKLM01 - Aranet Lux Meter with Holder
[6 empty] | Speed | oz | [13 empty] | TDSKAR02 - Aranet PAR Sensor with Holder
[6 empty] | Concentration | N | [13 empty] | TDSPC005 - Aranet CO2 and Temperature Sensor
[6 empty] | Torque | kp | [13 empty] | TDSPDL03 - Aranet NH3 sensor kit: DOL 53 with 0-10 V transmitter, 24 VDC PS
[6 empty] | Acceleration | lbf | [13 empty] | TDSPPM02 - Aranet PM sensor
[6 empty] | Energy | m/s | [13 empty] | TDSPIKU2 -Aranet Drainage sensor kit
[6 empty] | Resistance | km/h | [13 empty] | TDSKSV2 - Aranet weight sensor with frame
[6 empty] | Conductivity | kn | [13 empty] | TDSKT12 - Aranet Sap Flow sensor kit: SF-5M with 4-20 mA transmitter, 12 VDC PS
[6 empty] | Power | mi/h
[6 empty] | Illuminance | ft/s
[6 empty] | Flow | ppm
[6 empty] | Volume | %
[6 empty] | Radioactivity | Nm
[6 empty] | PPFD | lbfft
[6 empty] | pH | lbfln
[6 empty] | Other | ozfln
m/s²
ft/s²
g
J
cal
BTU
kWh
Ω
S/m
mS/cm
W
hp
lx
m3/s
l/s
ft3/s
gps
m3
l
ml
ft3
gal
Bq
Ci
μmol/m²s
Note on H30: [Komentārs ar pavedienu] Jūsu Excel versija ļauj lasīt šo komentāru ar pavedienu, tomēr visi tā labojumi tiks noņemti, ja fails tiks atvērts jaunākā Excel versijā. Papildinformācija: https://go.microsoft.com/fwlink/?linkid=870924 Komentārs: Doesn't have unit
Note on H31: [Komentārs ar pavedienu] Jūsu Excel versija ļauj lasīt šo komentāru ar pavedienu, tomēr visi tā labojumi tiks noņemti, ja fails tiks atvērts jaunākā Excel versijā. Papildinformācija: https://go.microsoft.com/fwlink/?linkid=870924 Komentārs: To place whichever "dimension" and unit the user wants
Note on H56: [Komentārs ar pavedienu] Jūsu Excel versija ļauj lasīt šo komentāru ar pavedienu, tomēr visi tā labojumi tiks noņemti, ja fails tiks atvērts jaunākā Excel versijā. Papildinformācija: https://go.microsoft.com/fwlink/?linkid=870924 Komentārs: Doesn't have unit
Note on H57: [Komentārs ar pavedienu] Jūsu Excel versija ļauj lasīt šo komentāru ar pavedienu, tomēr visi tā labojumi tiks noņemti, ja fails tiks atvērts jaunākā Excel versijā. Papildinformācija: https://go.microsoft.com/fwlink/?linkid=870924 Komentārs: To place whichever "dimension" and unit the user wants